| Insert Logo Here | Service Company Information (Address, Telephone, & Contact Information |  | Building Fire Pump Tests – NFPA 25 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Date of Service: |  | Last Service Date: |  |  |  |
|  |  |  | Daily | Weekly | Monthly |  |  | Quarterly |
|  |  |  | Semiannual | Annual | Third Year |  |  | Fifth Year |
| Building Name: |  |  | Contact Person: |  |  | Phone: |  |  |
|  |  |  |  |  |  | Fax: |  |  |
| Address: |  |  | Owner/Strata Number: |  |  | Phone: |  |  |
|  |  |  |  |  |  | Fax: |  |  |
| City: |  | Postal Code: | Central Station: |  |  | Phone: |  |  |
|  |  |  |  |  |  | Fax: |  |  |

| NAME PLATE INFORMATION: |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PUMP |  |  |  | MOTIVATOR |  |  |  |  |  |  |  |
| Make: |  |  |  | Type: | Diesel Electric Other: |  |  |  |  |  |  |
| Model: |  |  |  | Make: |  |  | Serial Number: |  |  |  |  |
| Serial Number: |  |  |  | Model: |  |  | Size: |  |  |  | HP |
| Capacity @ 100%: |  | GPM LPM |  | Voltage: |  |  | Full Load Current: |  |  |  | Amps |
| Rated Head @ 100%: |  | PSIG KPAG |  | Enclosure: |  |  | Rated Speed: |  |  |  | RPM |
| Capacity @ 150%: |  | GPM LPM |  | No. of Cylinders: |  |  |  |  |  |  |  |
| Rated Head @ 150% |  | PSIG KPAG |  | CONTROLLER |  |  |  |  |  |  |  |
| Shut-off Head: |  | PSIG KPAG |  | Make: |  |  |  | Serial Number: |  |  |  |
| Supply Pressure: |  | PSIG KPAG |  | Model: |  |  |  | Transfer Switch? |  | Yes No |  |

NOTE:  The pump manufacturer may specify additional testing requirements.  The printed maintenance and testing guide must be followed.

“” = Yes - Tested correctly    “X” = No - Did not test correctly (NO answers are detailed in “Comments/Remarks”)     “NA” = Not applicable

| FIRE PUMP INSPECTION ITEMS |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | WEEKLY INSPECTION ITEMS |  |  |  |  |  |  | Battery terminals clean, tight and free from corrosion |  |  |  |
|  | Fire Pump Room/Enclosure |  |  |  |  |  |  | All alarm & trouble indicators are off (activate visual lamp test function) |  |  |  |
|  | Heated to maintain temperature above 4C / 40deg |  |  |  |  |  |  | Exhaust System |  |  |  |
|  | Suction and discharge pressure gauges free from damage |  |  |  |  |  |  | Inspected for leakage |  |  |  |
|  | Ventilation louvers are unobstructed and free to operate |  |  |  |  |  |  | Condensation trap drained |  |  |  |
|  | System Piping and Valve Condition |  |  |  |  |  |  | Electrical System Conditions |  |  |  |
|  | Pump suction, discharge and bypass valves in normal position |  |  |  |  |  |  | Controller power light on |  |  |  |
|  | Inspect associated piping for leaks |  |  |  |  |  |  | Transfer switch normal, pilot light illuminated |  |  |  |
|  | Suction line pressure normal? |  |  | PSIG KPAG |  |  |  | Isolating switch closed - standby (emergency) source |  |  |  |
|  | System line pressure normal? |  |  | PSIG KPAG |  |  |  | Reverse phase alarm pilot light off? |  | Yes No NA |  |
|  | Suction reservoir full? |  |  |  |  |  |  | Normal phase rotation pilot lamp on? |  | Yes No NA |  |
|  | Wet pit suction screens are unobstructed and properly installed |  |  |  |  |  |  | Oil level is normal (check sight glass) |  | Yes No NA |  |
|  | Diesel Engine Condition Inspection |  |  |  |  |  |  | Condition of oil in sight glass? Clean Cloudy Dirty |  |  |  |
|  | Fuel level is not less than 70% of full capacity |  |  |  |  |  |  | Visual lamp test successful? |  |  |  |
|  | Controller selector switch is in “auto” position |  |  |  |  |  |  |  |  |  |  |
|  | Batteries (2) voltage readings are normal |  |  |  |  |  |  | ANNUAL INSPECTION ITEMS |  |  |  |
|  | Batteries (2) charging current is normal |  |  |  |  |  |  | Check pump shaft end-play? |  |  |  |
|  | Batteries (2) status indicator lamps are normal |  |  |  |  |  |  | Check accuracy of pressure gauges and sensors? |  |  |  |
|  | Electrolyte level in batteries is normal |  |  |  |  |  |  | Check pump coupling alignment? |  |  |  |
|  | Engine hour clock reading: |  |  | hours |  |  |  | Inspect emergency manual starting means (without power)? |  |  |  |
|  | Oil level in right angle gear drive is normal |  |  |  |  |  |  | Tighten electrical connection as required? |  |  |  |
|  | Crankcase oil level is normal |  |  |  |  |  |  | Inspect mechanical moving parts for lubrication (not starters/relays) |  |  |  |
|  | Condition of oil? Clean Cloudy Dirty |  |  |  |  |  |  | Inspect calibrated pressure switch settings? |  |  |  |
|  | Cooling water level is normal |  |  |  |  |  |  | Inspect duct work for combustion air? |  |  |  |
|  | Water-jacket/engine block heater is operating |  |  |  |  |  |  | Inspect exhaust hangers and supports? |  |  |  |
| The information on this form (and in the documents attached here-to) attest to the fact that the equipment listed here-in was tested/inspected in conformance with applicable codes, bylaws, standards, and the manufacturer’s requirements by a qualified technician. The equipment was left in an operational condition except as noted in the spaces marked “comments”. A copy should be maintained on the premises in accordance with NFC 2015 Division C Clause 2.2.1.2. |  |  |  |  |  |  |  |  |  |  |
| Company Name |  |  |  |  |  |  |  |  |  |  |
| Technician Performing Test |  |  | Registration No. |  |  | Date |  |  | Technician Signature |  |

“” = Yes - Tested correctly    “X” = No - Did not test correctly (NO answers are detailed in “Comments/Remarks”)     “NA” = Not applicable

| FIRE PUMP TESTING ITEMS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| WEEKLY ACTION ITEMS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Piping & Associated Equipment |  |  |  |  |  |  |  |  |  | Diesel Engine Driven Pump Test |  |  |  |  |  |  |  |  |
|  |  | Pump operated without flowing water: 10 minutes 30 minutes |  |  |  |  |  |  |  |  |  | Pump run for thirty (30) minutes |  |  |  |  |  |  |  |  |
|  |  | Packing gland checked. Minor leak at no flow? Yes No |  |  |  |  |  |  |  |  |  | Oil Pressure: |  |  |  |  | PSIG KPAG |  |  |  |
|  |  | Suction pressure at gauge: |  |  | PSIG KPAG |  |  |  |  |  |  | Oil Temperature: |  |  |  |  |  | C F |  |  |
|  |  | Discharge pressure at gauge : |  |  | PSIG KPAG |  |  |  |  |  |  | Engine Speed: |  |  |  |  |  | RPM |  |  |
|  |  | Packing gland adjusted as required? Yes No |  |  |  |  |  |  |  |  |  | Water Temperature: |  |  |  |  |  | C F |  |  |
|  |  | Checked for unusual noise or vibration? |  |  |  |  |  |  |  |  |  | Record time for diesel engine to crank: |  |  |  |  |  |  | seconds |  |
|  |  | Check packing boxes, bearings or pump casing for overheating? |  |  |  |  |  |  |  |  |  | Time for engine to normal run speed: |  |  |  |  |  |  | seconds |  |
|  |  | Record pump start pressure : |  |  | PSIG KPAG |  |  |  |  |  |  | Heat exchanger checked for cooling water flow? |  |  |  |  |  |  |  |  |
|  |  | Electrically Driven Pump Test |  |  |  |  |  |  |  |  |  | Is the controller performing run tests automatically? Yes No |  |  |  |  |  |  |  |  |
|  |  | Pump run for ten (10) minutes |  |  |  |  |  |  |  |  |  | Test log reviewed via visual display at controller? Yes No |  |  |  |  |  |  |  |  |
|  |  | Time for motor to accelerate to full speed: |  |  |  |  |  | seconds |  |  |  | Date last automatic test logged? |  |  |  |  |  |  |  |  |
|  |  | For reduced voltage or reduced current starting, record time |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | controller is on first step: |  |  | seconds |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Record automatic stop time: |  |  | minutes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FIRE PUMP TESTING ITEMS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Monthly testing |  |  |  |  |  |  |  |  |  | Semiannual |  |  |  |  |  |  |  |  |
|  |  | Exercise isolating switch & circuit breaker for proper operation? |  |  |  |  |  |  |  |  |  | Operate manual starting means (electrical) |  |  |  |  |  |  |  |  |
|  |  | Test circuit breakers and fuses for proper operation? |  |  |  |  |  |  |  |  |  | Operation of safety devices and alarms? |  |  |  |  |  |  |  |  |
|  |  | Test batteries for specific gravity and state of charge? |  |  |  |  |  |  |  |  |  | Check concentration of antifreeze? |  |  |  |  |  |  |  |  |
|  |  | Steam Systems Testing Procedure |  |  |  |  |  |  |  |  |  | Annual |  |  |  |  |  |  |  |  |
|  | Steam pressure gauge reading: |  |  |  |  | PSIG KPAG |  |  |  |  |  |  | Operate emergency starting means (without power) |  |  |  |  |  |  |  |  |
|  |  | Time for turbine to reach operating speed: |  |  |  |  | seconds |  |  |  |  | Trip circuit breaker if provided? |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | Diesel tanks and overflow piping unobstructed? |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | Test exhaust for excessive back pressure? |  |  |  |  |  |  |  |  |
| Comments/Notations: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |