MONTLY FIRE ALARM SYSTEM TEST RECORD

| PRE-TEST CHECKLIST |  |
| --- | --- |
| Ensure system is placed “on test”. If local system only, ensure FD dispatch centre is notified. | If applicable, check fire alarm control panel displays correct date & time (correct display as required). |
| Check fire alarm system is clear of all fault or trouble messages. | Notify occupants that audible signals will sound (i.e. signs posted as required). |

| Building Name & Address: |  |
| --- | --- |

| Date |  | Fire Alarm System |  |  |  |  |  |  | FSRC |  | Comments on Reverse | Voice Communication Test (if applicable) |  |  |  | Tested By |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2026 |  | System trouble “OFF” | Power Indicator Lamp “ON” | Location of Initiating Device Tested | Inspection of Initiating Device | Alarm signal confirmed | Annunciation Confirmed | Audible and visual trouble signal | Alarm Signal Transmission Confirmed | Trouble Signal Transmission Confirmed |  | Location of Emergency Telephone | Location & two-way communication confirmed | Voice Paging Zone / Area | Confirm Voice Paging Operation | Name of Person and Affiliation Conducting Monthly Test | Signature |
| Jan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Feb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Apr |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| May |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jun |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jul |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Aug |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sep |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oct |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nov |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dec |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| POST-TEST CHECKLIST |  |
| --- | --- |
| Reset activated manual station. Reset fire alarm control panel. | Notify occupants that monthly testing is completed. |
| Check fire alarm system is “normal” and trouble-free. | Call the monitoring station and confirm the alarm signal has been received and restored. |
| Notify the monitoring station and/or FD dispatch centre that the system can be placed back in service. |  |

| TEST NOTES, REMARKS & OBSERVATIONS |  |
| --- | --- |
| Jan |  |
| Feb |  |
| Mar |  |
| Apr |  |
| May |  |
| Jun |  |
| Jul |  |
| Aug |  |
| Sep |  |
| Oct |  |
| Nov |  |
| Dec |  |